## Main
Building | Sensor ID | Title | Unit Label | Sensor Group | Sort Order | Is Calc Field | Calc or Transform Function | Function Parameters
Chugach View | chuvw_outdoor_temp | Site Outdoor Temp | deg F | Weather | 5
Chugach View | chuvw_boilers_fired | West Boilers Fired | units | Boiler | 10
Chugach View | chuvw_firing_rate | West Boiler Firing Rate | % | Boiler | 20
Chugach View | chuvw_firing_rate_tot | West Boiler Total Firing Rate | % | Boiler | 30
Chugach View | chuvw_gas_use | West Boiler Gas Use | Btu/hour | Boiler | 40 | TRUE | linear | id_val: chuvw_firing_rate_tot\nslope: 30000.0
Chugach View | chuvw_header_temp | West Header Temperature | deg F | Boiler | 50
Chugach View | chuvw_header_setpoint | West Header Setpoint | deg F | Boiler | 60
Chugach View | chuvw_boilers_online | West Boilers Online | units | Boiler | 70
Chugach View | chuvw_boiler1_status | West Boiler 1 Status | code | Boiler | 80
Chugach View | chuvw_boiler2_status | West Boiler 2 Status | code | Boiler | 90
Chugach View | chuvw_lead_boiler | West Lead Boiler | ID | Boiler | 100
Chugach View | chuvw_io_status | West Boiler I/O Status | code | Boiler | 110
Chugach View | chuvw_fault_code | West Boiler Fault Code | code | Boiler | 120